**Liquid soap dispenser**

Deck-mounted liquid soap dispenser

Straight spout, chrome-plated brass

Reference: **729108**

Specification description

Deck-mounted soap dispenser with straight spout.

Liquid soap dispenser.

Model for installing on washbasins.

Vandal-resistant model.

Chrome-plated brass body and push-button.

Non-drip system (waterproof).

Mechanism can be locked via a grub screw.

Refilling under the basin by changing the container.

Supplied with a 1.20m flexible tube for remote tank.

Deck-mounted liquid soap dispenser with 30-year warranty.