**Liquid soap dispenser**

Deck-mounted liquid soap dispenser

Deck-mounted, with curved spout

Reference: **729112**

Specification description

Deck-mounted soap dispenser with curved spout.

Liquid soap dispenser.

Model for installing on washbasins.

Vandal-resistant model.

Chrome-plated brass body and push-button.

Non-drip system (waterproof).

Mechanism can be locked via a grub screw.

Refilling under the basin by changing the container.

Supplied with a 1.2m flexible tube for remote tanks.

Deck-mounted liquid soap dispenser with 30-year warranty.