**ECO straight curtain rail**

Telescopic

From 0.76 - 1.26m

Reference: **358**

Specification description

Straight extendable curtain rail.

Rod for extendable curtain rail made from polished aluminium tube, Ø 20 mm.

Telescopic from 0.76 - 1.26m.

30-year warranty.