**Chrome-plated single jet shower head M1/2"**

Ø 70mm, scale-resistant

Reference: **811**

Specification description

M1/2" shower head, Ø 70mm.

Shower head made from chrome-plated ABS.

Single jet: rain effect.

Manual system for removing limescale: scale deposits can be removed by rubbing the holes.