**Bubbler**

For water fountains

M3/8"

Reference: **312QU1**

Specification description

Bubbler for water fountains:

Instant shut-off.

Adjustable flow rate.

Chrome-plated brass.

Connection M3/8".

30-year warranty.