**TONIC JET shower head**

Scale-resistant

Exposed for column set F3/4" and collar

Reference: **712020**

Specification description

Exposed scale-resistant fixed shower head:

Flow rate 6 lpm at 3 bar.

Automatic flow rate regulation.

Scale-resistant and ligature-resistant nozzle with adjustable spray.

Chrome-plated solid brass.

Fixed with concealed blocking screw.

Systematically drains after use (no water retention or impurity deposits).

For column set F3/4" and collar (fixed with supplied screw driver).

30-year warranty.