**Neck tube**

For siphon action urinal

F¾", Ø 35mm

Reference: **759000**

Specification description

Neck tube for siphon action urinal.

IDEAL STANDARD "Prival 3803".

NOVOBOCH "Mistal or Vasco".

ROCA "Mural".

SELLES "8620 or Mistal".

VILLEROY BOCH "Targa 7502/7504 or Esta 7508".

F¾", Ø 35mm.

30-year warranty.