**Urinal union**

For siphon or standard urinal

M½", Ø 35mm

Reference: **758035**

Specification description

Recessed union for urinals:

M½", Ø 35mm.

30-year warranty.