**Tap for sinks**

Spout L.150mm

Long-Life valve head, M1/2"

Reference: **D275150**

Specification description

Wall-mounted tap for sinks with Long-Life valve head.

DELTA chrome-plated control knob.

Swivelling spout.

Scale-resistant flow straightener, flow rate regulated to 3 lpm.

Chrome-plated brass body.

M1/2".

Spout L. 150mm.

30-year warranty.