**Water hammer absorber**

Water hammer absorber F3/4"

H. 92mm

Reference: **23020**

Specification description

Water hammer absorber with stainless steel spring and piston.

Rough cast brass.

Absorbs the smallest pressure variations and water hammer up to 20 bar.

F3/4", H. 92mm.

30-year warranty.