**304 Stainless steel disabled toilet sign**

Disabled sign

Self-adhesive

Reference: **510153S**

Specification description

Self-adhesive toilet sign.

Polished satin 304 stainless steel.

Stainless steel thickness 1.2mm.

"Disabled" toilet sign.

Dimensions: 125 x 125mm.

30-year warranty.