**Surgical scrub up trough with high splashback**

Polished satin 304 stainless steel - 3 services

With 1 tap holes Ø 22mm per service

Reference: **183100**

Specification description

Wall-mounted surgical scrub up trough with splash-back 360mm.

Suitable for hospitals and healthcare facilities.

Bacteriostatic 304 stainless steel. Polished satin finish. Stainless steel thickness: 1.2mm.

L. 2,100mm, 3 services. With 1 tap hole Ø 22mm per service.

Smooth surface and rounded inside edges for easy cleaning.

Drainage on the right. Without overflow. Supplied with fixing elements.

CE marked. Complies with norm EN 14296.

Weight: 34.9kg.

30-year warranty.