**Sleeve connector**

HDPE 100/90 for TEMPOFIX 3

Reference: **578090**

Specification description

HDPE 100/90 sleeve connector.

For Ø 100/90mm soil pipe.

HDPE.

30-year warranty.