**MINI BAILA wall-mounted washbasin**

Polished satin 304 stainless steel

With central tap hole Ø 35mm

Reference: **121180**

Specification description

Wall-mounted washbasin. Basin internal diameter: 310mm.

Design-led styling.

Bacteriostatic 304 stainless steel.

Polished satin finish.

Stainless steel thickness: 1mm.

Rounded edges prevent injury.

With central tap hole Ø 35mm.

Supplied with 1¼" waste. Without overflow.

Supplied with fixing elements.

CE marked. Complies with European standard EN 14688.

Weight: 4.1kg.

30-year warranty.