**Twin hole pre-rinse set with mixer and telescopic spout**

With bib tap and telescopic spout

Hand spray with scale-resistant diffuser

Reference: **G6832**

Specification description

Complete pre-rinse set with bib tap suitable for intensive use in professional kitchens.

Deck-mounted twin hole mixer with adjustable centres from 100 - 240mm with:

- valve heads with control knobs.

- offset inlet connections with M1/2" tails.

Bib tap with telescopic, swivelling spout L. 200 - 290mm:

- 20 lpm flow rate at the outlet.

- valve head with control knob.

White hand spray with adjustable jet and 10 lpm flow rate at the outlet (ref. 433003).

Scale-resistant hand spray and shock-resistant tip.

Reinforced, food-grade, white flexible hose L. 0.95m.

3/4" brass column.

Adjustable wall bracket.

Stainless steel spring guide.

30-year warranty.

These pre-rinse sets can be installed close to the splashback.