**Neck tube**

For DELABIE DELTACÉRAM urinal

F½"

Reference: **757118**

Specification description

Neck tube for DELABIE DELTACÉRAM urinal.

F½".

Suitable for exposed valve ranges TEMPOMATIC 4, TEMPOMATIC 3, TEMPOSOFT and TEMPOSTOP.

30-year warranty.