**Offset connector**

From 12mm, standard

M1/2" - M3/4", L. 60mm, pack of 2

Reference: **856027.2P**

Specification description

Offset standard connectors.

M1/2" - M3/4".

12mm centres, L. 60mm.

Ø 70mm escutcheon.

Solid brass.

Supplied in packs of 2.

30-year warranty.