**Swivelling, tubular spout**

Over spout

H.230mm L.300mm

Reference: **963300245F**

Specification description

Swivelling, tubular over spout in chrome plated brass, Ø22mm, with pre-mounted flow straightener.

Spout H.230mm L.300mm with 3/4" nut.

Smooth interior reduces niches where bacteria can develop.

For Professional Catering mixers.