**Time flow cartridge**

For TEMPOSOFT 1 and 2 basin

Time flow ~7 seconds

Reference: **743747**

Specification description

Time flow cartridge for TEMPOSOFT and TEMPOSOFT 2 basin mixers and taps.

Time flow ~7 seconds.

Adjustable flow rate from 1.4 to 6 lpm.