**Time flow cartridge**

For TEMPOSTOP recessed shower

Time flow ~30 seconds, adjustable flow rate

Reference: **743644**

Specification description

Time flow cartridge for TEMPOSTOP recessed shower.

Time flow ~30 seconds.

Adjustable flow rate.