**Flexible hose for catering**

For pre-rinse set 5526

Reference: **435526**

Specification description

Black, reinforced food-grade flexible hose L. 0.55m.

Anti-torsion rotating nut.

Flexible hose will withstand temperatures up to 70°C and 5 bar maximum pressure.

Spare part for repairing pre-rinse set 5526.