**Stainless steel flexibles F3/8"**

M11x1 L.370mm

2 pieces

Reference: **FLEX795**

Specification description

2 x Stainless steel flexibles F3/8" M11x100 L.370mm.

Withstand thermal and chlorine shocks: maximum temperature 85°C (recommended 65°C).

Operating pressure: 10 bar (maximum pressure 40 bar).

2 per pack.