**Electronic control unit**

For electronic soap dispensers

Reference: **512BC**

Specification description

Electronic control unit for electronic soap dispensers.

Compatible with DELABIE mirror cabinets, and TEMPOMATIC 4 and BINOPTIC electronic soap dispensers.

Dimensions: 144 x 90 x 73mm.