**Electronic control unit**

For dual control TEMPOMATIC WCs

Cartridge and solenoid valve

Reference: **461032Y**

Specification description

Electronic control unit: cartridge and solenoid valve.

Dual control.

Connections: 1" 1/4 Dimensions: Ø 4mm

For dual control TEMPOMATIC WCs.