**WC connection kit**

Inlet and outlet sleeves

Reference: **100529**

Specification description

Connection kit for WCs includes:

- 1 Extended supply tube Ø 32mm, L. 684mm

- 1 Extended outlet sleeve Ø 100mm, L. 405mm

Made in PVC.

30-year warranty.